Contents lists available at ScienceDirect

Biomedical Signal Processing and Control

jo ur nal  homepage: www.elsevier.com/locate/bspc

Biomedical Signal Processing and Control 53 (2019) 101575

Split and merge watershed: A two-step method for cell segmentation in ﬂuorescence microscopy images

Margarita Gamarraa,∗, Eduardo Zurekb, Hugo Jair Escalantec, Leidy Hurtadod,

Homero  San-Juan-Vergarad

a Department of Electronic Engineering, Politécnico de la Costa Atlántica, Barranquilla, Colombia

b Department of Systems Engineering, Universidad del Norte, Barranquilla, Colombia

c Computer Science Department, Instituto Nacional de Astrofísica, Óptica y Electrónica, Puebla, and CINVESTAV IPN, Mexico

d Deparment of Medicine, Division of Health Science, Universidad del Norte, Barranquilla, Colombia

a r t i c l e	i n f o	a b s t r a c t

Article history:

Received 27 November 2018

Received in revised form 17 May 2019 Accepted 26 May 2019

Keywords:

Watershed

Cell segmentation Fluorescence microscopy Phenotypic variability

The development of advanced techniques in medical imaging has allowed scanning of the human body to microscopic levels, making research on cell behavior more complex and more in-depth. Recent stud- ies have focused on cellular heterogeneity since cell-to-cell differences are always present in the cell population and this variability contains valuable information. However, identifying each cell is not an easy task because, in the images acquired from the microscope, there are clusters of cells that are touch- ing one another. Therefore, the segmentation stage is a problem of considerable difﬁculty in cell image processing. Although several methods for cell segmentation are described in the literature, they have drawbacks in terms of over-segmentation, under-segmentation or misidentiﬁcation. Consequently, our main motivation in studying cell segmentation was to develop a new method to achieve a good tradeoff between accurately identifying all relevant elements and not inserting segmentation artifacts.

This article presents a new method for cell segmentation in ﬂuorescence microscopy images. The proposed approach combines the well-known Marker-Controlled Watershed algorithm (MC-Watershed) with a new, two-step method based on Watershed, Split and Merge Watershed (SM-Watershed): in the ﬁrst step, or split phase, the algorithm identiﬁes the clusters using inherent characteristics of the cell, such as size and convexity, and separates them using watershed. In the second step, or the merge stage, it identiﬁes the over-segmented regions using proper features of the cells and eliminates the divisions. Before applying our two-step method, the input image is ﬁrst preprocessed, and the MC-Watershed algorithm is used to generate an initial segmented image. However, this initial result may not be suitable for subsequent tasks, such as cell count or feature extraction, because not all cells are separated, and some cells may be mistakenly confused with the background. Thus, our proposal corrects this issue with its two-step process, reaching a high performance, a suitable tradeoff between over-segmentation and under-segmentation and preserving the shape of the cell, without the need of any labeled data or relying on machine learning processes. The latter is advantageous over state-of-the-art techniques that in order to achieve similar results require labeled data, which may not be available for all of the domains. Two cell datasets were used to validate this approach, and the results were compared with other methods in the literature, using traditional metrics and quality visual assessment. We obtained 90% of average visual accuracy and an F-index higher than 80%. This proposal outperforms other techniques for cell separation, achieving an acceptable balance between over-segmentation and under-segmentation, which makes it suitable for several applications in cell identiﬁcation, such as virus infection analysis, high-content cell screening, drug discovery, and morphometry.

© 2019 Elsevier Ltd. All rights reserved.

# Introduction

∗   Corresponding  author.

E-mail addresses: mgamarraa@pca.edu.co (M. Gamarra), ezurek@uninorte.edu.co (E. Zurek), hugojair@inaoep.mx (H.J. Escalante), lvhurtado@uninorte.edu.co (L. Hurtado), hsanjuan@uninorte.edu.co

(H. San-Juan-Vergara).

Progress on the development of health-related technologies has allowed insights to be obtained from the inside the human body (from entire systems to microscopic cells) that in the past were unimaginable. Different microscopy technologies allow biologists to collect large amounts of images each containing thousands of

https://doi.org/10.1016/j.bspc.2019.101575

1746-8094/© 2019 Elsevier Ltd. All rights reserved.

cells. Although many studies at the cellular level focus on the pop- ulation as a whole, one challenge of biology is to understand how each cell responds to certain processes and disturbances.

Single-cell heterogeneity in cell populations is a relevant factor in diverse ﬁelds, including virus infection analysis. Several types of studies have demonstrated that components of observed cel- lular heterogeneity contain meaningful information. Researchers have associated features at the level of individual cells with virus infections [1,2], and the study of phenotypic variability requires measurements from single cells and not just information on popu- lation averages [3]. Cellular heterogeneity studies require advanced imaging techniques and algorithms for image processing (includ- ing a suitable segmentation method), which allow signiﬁcant data to be extracted from each cell.

High-content Screening (HCS) is a technique that offers solu- tions for the study of phenotypic variability. HCS is an approach that allows simultaneous multi-dimensional image analysis in microscopy. It optimizes image processing and reduces the analysis time, increasing the number of analyzed cells and images [4], and, consequently, has been used to industrialize cell biology. Optimized image processing increases the number of cells analyzed and, as a result, generates more signiﬁcant and multifaceted cell identiﬁca- tion data. HCS is a platform that allows the morphological features of cells to be extracted, for example in studies of virus-cell interac- tions, the behavior of cellular subpopulations, and drug discovery [5]. This tool is widely used in cell biology, medical research, and morphometry. Automated microscopy in high-content screening uses several detection methods. One approach is to stain cells with ﬂuorescent probes, such as those that recognize DNA or actin, and then it is possible to detect ﬂuorescent structures against a less ﬂu- orescent background. Other studies [6] have evaluated phenotypic parameters using HCS, and have analyzed images to measure dif- ferent features of cells in cancer samples, including cell count, area, and intensity.

Even  though   these   microscopic   technologies   offer   high-

resolution images, the availability of large datasets and the lack of easily-observable patterns for human experts demand the imple- mentation of digital image analysis techniques for automated cell identiﬁcation [7]. Algorithms for  analyzing  cell  images  continue to improve, and software for detecting and characterizing cells is becoming even more sophisticated. However, the ﬁeld of cell image analysis poses particular challenges with regards to the segmen- tation process. Images obtained from microscopy show not only isolated cells but hundreds of cells touching one another, causing standard image processing algorithms to fail in segmenting cells correctly [8,9]. Cell segmentation has important applications, such as quantiﬁcation of cells and for identiﬁcation and characteriza- tion, for example in virus infection analysis of cells. A real cell separation yields accurate results and reliable analysis, but a poor segmentation can lead to misinterpretation of the images. Conse- quently, it is necessary that this ﬁrst stage in the cell image analysis is performed accurately, with correct cell identiﬁcation, individual cell separations, a low noise index, and a low over-segmentation rate.

Many  techniques  have  been  proposed  for  cell  segmentation

and each method is ﬁtted to the type of cell. The most common techniques are those based on  thresholds  and  on  the  Water- shed transform, which has drawbacks such as over-segmentation. Other algorithms described in the literature have been proposed for improving the accuracy of the segmentation process, includ- ing improved Watershed algorithms [10], active  contours  and level sets [11,12], clustering [13] and even deep neural networks [14]. Commonly, the evaluations accompanying such methods report satisfactory performance. Nevertheless, most authors use indicators that do not necessarily reﬂect the desired behav- ior/performance required for later applications of the technique.

There are different quality features in medical image segmenta- tion that deﬁne the categories of segmentation errors [15]. In the case of cell image segmentation, the quality of the processed image with respect to cell-by-cell separation, and not just background-cell segmentation (as for most existing methods) is of great impor- tance, since this result could affect statistical studies or subsequent classiﬁcation processes.

The segmentation method described in this paper was devel- oped to be used by biologists in practice for the research project described in [16]. This study aimed to determine whether the population context inﬂuences the cell-to-cell variability in Respira- tory Syncytial Virus (RSV) infection using ﬂuorescence microscopy images. In order to support such study, it was essential to have accu- rate enough information from each cell, as the research required data about the area, shape, and location of individual cells. Conse- quently, the algorithms implemented in the cellular segmentation processes, despite being efﬁcient for tasks such as counting, exhib- ited limitations in the correct cell by cell separation and affected the original shape of the cell. For this reason, a new method being able to overcome the limitations existing techniques was required. In  this  paper,  we  propose  a  new  method  for  cell  segmenta- tion in ﬂuorescence microscopy images. Compared to previous works, our method comprises ﬁve main contributions. First, the method combines the MC-Watershed, which identiﬁes the cells from the background, and SM-Watershed, which separates the clumped cells, providing better performance in the cell segmenta- tion task. Second, the SM-Watershed method performs a selective separation of clumped cells, using the information on their inher- ent characteristics, which is a simple way to identify touching cells. Next, the Watershed transform is ﬁtted and applied only to the clumped cells, reducing computational operations. The issue of over-segmentation in Watershed is addressed using information about cell morphology to eliminate incorrect divisions. Third, the two stages of SM-Watershed (split and merge) generate a suitable tradeoff between over-segmentation and under-segmentation. Four, our method does not use an ellipse or geometric ﬁtting, adapt- ing to the shape of the cell. Finally, the method does not require training processes whereby the amount of training data is not an important factor in the performance of the algorithms and it saves

training time.

The new method was assessed with some commonly used performance indicators, such as accuracy, precision, recall, and F-index, but additionally, the measurements  that  aim  to  evalu- ate segmentation methods using relevant aspects for the  ﬁnal users of the type of technique were also considered. Speciﬁcally, we obtained the ratio of over-segmentation, under-segmentation, noise, and non-detected cells,  by  cell-to-cell  visual  inspection with two public datasets. The results were compared with Cell- Proﬁler [8] segmentation and the Marker-Controlled Watershed (MC-Watershed) algorithm [10,17]. Additionally, we compared this new method with other methods proposed in the literature. Exper- imental results revealed that the new SM-Watershed algorithm compares favorably  when  considering  classical  techniques,  and it performs slightly worse than deep-learning based methodolo- gies. Although this may seem discouraging, it is the other way around: we have developed a methodology that does not rely on training (data ﬁtting/modeling) processes, does not need of data labeled by experts, can be fully understood by the ﬁnal users and obtains acceptable performance in cell segmentation. The proposed methodology is being used in practice by biologists in the afore- mentioned project [16].

The remainder of this paper is organized as follows. The main

steps of the new cell  segmentation  method  are  described  in detail in section §2. Materials and  Methods.  After  the  descrip- tion  of  the  method,  we  expose  the  main  results  in  section  §3.

Results and Discussion. Finally, the conclusions of the study are given.

1.1. Related work

Contributions on cell segmentation can be divided into con- ventional and deep learning based approaches. On the one hand, traditional methods implement classical image processing tech- niques, such as intensity thresholding, morphological operations, Watershed transform, active contours, graph-based methods, supervised classiﬁcation of pixels and clustering techniques. These methods have achieved high performance in the cell segmenta- tion task, but the main challenge is to deal with over-segmentation or under-segmentation. A desired feature of this sort of methods is that, in general, they do not rely on models learned from data; therefore, they can work similarly for domains/datasets formed by a handful of images. On the other hand, deep learning approaches learn a model to segment cell images starting from large amounts of data. These methods often outperform traditional techniques in benchmark datasets in terms of cells correctly separated and a balance between over-segmentation and under-segmentation. However, these methods are computationally demanding, require large amounts of data, and rely on data ﬁtting processes. When- ever enough data is available, deep learning based methods could be a good option. However, in general, a method not requiring large amounts of data is preferred. Moreover, such methods are black boxes that cannot be interpreted; this is a critical aspect in cellular biology, as experts will not rely on a method they cannot understand.

Watershed  has  been  widely  used  for  cell  segmentation,  but

The study presented in [18] suggested

watershed-based algorithms tend to under-segmentation when cells have high overlapping or over-segmentation when cells have different shapes and sizes.

a technique based on the Watershed transform and elliptic adjust-

ment, to detect automatically HEp-2 cells with diverse patterns. It

does not need to segment cells with great accuracy, but it must

help to extract features to support cell classiﬁcation. The proposed

method demonstrated a better segmentation performance when

compared to the CellProﬁler software in an evaluation regarding

some volumetric metrics, with a volume overlap of 89%. Also, this

method gave a lower number of miss-segmented cells than Cell- Proﬁler. However, a major limitation of this work is that it fails to

ﬁt in cells with irregular shapes.

Similarly, other authors have proposed the segmentation of HEp-2 cells using an adaptive Marker-Controlled Watershed algo- rithm [10]. The automatic marker selection involved several steps: an adaptive fuzzy c-means clustering was used to roughly separate the foreground from the background; then, the cell clusters were located, and a Randomized Hough Transform was applied to sep- arate the objects. After this procedure, internal markers deﬁned the positions of the individual cells, which allowed extraction of the external labels ﬁxing the location of the background. Overall, the results had a precision of 89.0%, a recall of 63.9% and an F- index value of 74.4%. About the qualitative visual assessment, the algorithm was able to correctly identify about 80% of the cells and clustered cells were successfully separated in 83% of the cases. One advantage of this proposal is the adaptation of the parameters to the characteristics of the input image in the preprocessing and in the MC- Watershed stages. However, the geometrical adaptation not always is suitable for cell datasets with irregular shapes and the MC-Watershed algorithm has limited performance regard to cell separation.

Gradient  computing  and  contour  extraction  for  cell  segmen-

tation have also been studied [19]. Overlapping cells were dealt with by applying Watershed and distance transforms. A genetic algorithm-based parameter detector (GAPD) determined the most

suitable values of the parameters. This approach obtained on aver- age a precision of 96%, an accuracy of 85%, and a sensitivity of 87% in uniform and ﬂeck pattern images used as test data. The over- segmentation was minimized by using only information about the cellular area, which may have caused errors in cell merging.

Although methods using Watershed are popular in cell image analysis, other works have opted for alternative solutions. One approach consists of the core phases based on polygon approx- imation, bottleneck detection, and ellipse ﬁtting [20]. Initially, a binary image with the contours of the cells is obtained and a poly- gon approximation is carried out to obtain characteristic points. For each connected region, the algorithm determines if there are one or more cells grouped by an elliptical adjustment and detection of the bottleneck. Finally,  the  cells  are  separated  at  the  divid- ing points, and the edge is modiﬁed to close the contour. This method separated overlapping cells, and the accuracies for blood and ﬂuorescence cell segmentations were 92% and 90%, respec- tively. Additionally, other indicators obtained visually, regarding the number of cells correctly segmented, were  shown  in  this paper and comparisons showed that this method outperformed other reported methods. Nevertheless, an elliptic adjustment is not always suitable for representing the shape of a cell because of its uneven appearance.

An alternative approach was a segmentation method based on

active contours, which detects objects with boundaries not deﬁned by the gradient [21]. The authors obtained a recall of 80.8%, a preci- sion of 89.6%, and an F-index of 84.4%. However, the segmentation pipeline described in this study was unable to split all overlapping cells as the main goal of such work was cell classiﬁcation and the presence of cell clusters in the segmentation was not a limitation for classiﬁcation.

Another technique that  has  been  used  for  cell  segmentation is the multiphase level set method, combined with the iterative voting method. The drawbacks of this approach were the time complexity, space complexity, possible local minima and poor ini- tialization [22]. When the number of cells increased, the operation time increased and the requirement for memory also grew. There- fore, this method is not appropriate for a real-time application. The Chan-Vese model was developed to deal with these limitations. However, if the gray-level of cells is similar to the background, it is difﬁcult to identify them. Moreover, the Chan-Vese Model had problems segmenting cells located too close together or overlap- ping [23].

New techniques based on deep learning have also been applied

to cell image segmentation, for example, U-Net  [24]  and  Deep- Cell [25], which are based on convolutional neural networks. These architectures have demonstrated high performance in the cell iden- tiﬁcation task. In the current paper, we compare our new method with both of these deep learning strategies. Traditional cell seg- mentation approaches often require parameter tuning, while deep convolutional neural networks (DCNN) require training data [26] and these models generally have a high computational cost. DCNN training requires large amounts of high-quality labeled samples, which could be a tedious and expensive task.

Despite the amount of research in the cell segmentation ﬁeld, the accurate segmentation of cells is still challenging, and most of the proposed techniques have drawbacks, with either over- segmentation or under-segmentation problems or some others require minimum levels of training data. These weaknesses moti- vated the current research. In this work, we focus on ﬂuorescence microscopy images introducing a new cell segmentation method based on a split and merge process and Watershed transform. Our algorithm reached a suitable tradeoff between over-segmentation and under-segmentation as none of the aforementioned works does, without relying on the training process.

Fig. 1. Cell images. First row: examples from the SNP dataset. Second row: examples from the U2OS dataset.

# Materials and methods

  - Dataset

To validate our proposed method, two public databases were used: the SNP HEp-2 Cell Dataset [27] and the ﬂuorescence cell database shared by Coelho et al. [28]. Examples from these two databases are shown in Fig. 1.

×

The SNP HEp-2 Cell Dataset (SNPHEp-2) [27] was obtained between January and February 2012 at Sullivan Nicolaides Pathol- ogy Laboratory, Australia. The SNPHEp-2 specimen images were captured using a monochrome high dynamic range microscopy camera, with a plan-Apochromat 20 /0.8 objective lens and an LED illumination source [27]. The dataset contains images of ﬁve cell classes: centromere, coarse speckled, ﬁne speckled, homogeneous, and nucleolar; and consists of 1884 cell images extracted from 40 specimen images. A DAPI image channel was used to obtain the cell image masks automatically. With the aim of validating our method, 40 cell images from the homogeneous class were chosen randomly, as this was the cell line used in reference [16], from which our method was developed.

The dataset collected by Coelho et al. consists of 48 U2OS cell

×

×

images with a size of 1340   1030 pixels. They were obtained using a 40 /0.9 numerical aperture (NA) water immersion  objective. High throughput microscopy was used to image living cells; details about tissue culture and high-content imaging are given in refer- ence [29]. In our study, 40 ﬂuorescence cell images were chosen randomly and the results compared with those from previous stud- ies that used this dataset. The human osteosarcoma U2OS cell line was one of the ﬁrst cell lines generated, and it is used in many different areas of research [30].

In this work, we developed algorithms in Matlab® 2014-B and

carried out the statistical validation with IBM SPSS Statistic. The source code and the results obtained during the current research are available from the corresponding author upon request.

  - Watershed transform

Our method for cell segmentation in ﬂuorescence microscopy images was based on a Watershed transform approach, which is generally used in image segmentation processes. The Watershed

transform is the most popular region-based method used for the segmentation task. The term watershed comes from geography: it refers to a ridge line that divides areas drained by different river systems [31]. The frontiers of the dams are called watershed lines [32,33]. The Watershed transform can be applied to gradient mag- nitude images, gray intensity images or distance transform maps. The deﬁnition of Watershed transform for the continuous case is based on distance functions and has been described in detail [33]. The Marker-Controlled version of Watershed extracts a set of markers for the positions of the objects in the image, to reduce over-segmentation (a drawback of Watershed) [34]. Morphological operations are necessary to obtain good markers. Nevertheless, the

automatic extraction of markers is still a challenge [10,35].

  - Mathematical morphology

Basic morphological operations are used in the MC-Watershed process: erosion, dilatation, opening, and closing. We followed the deﬁnition for these processes given in reference [36]. These opera- tions were used to obtain good foreground markers and to segment them from the background in the MC-Watershed algorithm.

The morphological opening is erosion followed by dilation, and morphological closing is dilation followed by erosion. In both cases, the accuracy of the image restoration depends on the connection between the ﬁgures and the structuring element. Reconstruction is a morphological transformation including a structuring element (deﬁnes the connectivity), the marker image (starting point), and the mask image (constrains the transformation). If we combine opening and closing with reconstruction, these procedures restore precisely the forms of the objects that remain after erosion/dilation using the mask image. Reconstruction-based opening and closing operations are better than the regular opening and closing oper- ations in eliminating small imperfections without affecting the shapes of the objects.

  - MC-Watershed

The ﬁrst stage of our proposed method aims at obtaining an initial (approximate) segmentation: distinguishing between the background and the cells. The goal of this block is to recognize as many cells as possible. A ﬂowchart of this process is shown

Fig. 2. Flowchart of the MC-Watershed algorithm.

in Fig. 2. Four stages integrate the MC-Watershed: preprocessing, marking the foreground objects, computing background markers and computing the Watershed transform [36].

§

The preprocessing stage is necessary to adapt the input image Iinput and obtain the markers of foreground and background. The algorithm cleans the borders as the cells there are not complete and it would result in incorrect information for subsequent pro- cesses, such as characterization. Next, the algorithm adjusts the intensity, which helps to improve the contrast between the cell and background, giving the adjusted image (Iadj). Morphological oper- ations like opening and closing by reconstruction are performed to enhance the image and obtain the markers (see subsection 2.3. Mathematical Morphology). The output of the preprocessing block is Io, which is the input to obtain the foreground and background markers.

The next block calculates the regional maxima of Io to acquire

foreground markers. The regional maxima are connected pixels with a constant intensity value and whose external boundary pixels have a lower value. It is necessary to clean the edges and remove the isolated pixels after this operation is performed, giving the image IF.

A threshold based on Otsu’s method is used to obtain the back- ground markers. Background markers are not suitable if too close to the edges of the cells. Next, the background is thinned by applying the Watershed transform to the distance transform of the internal marker. The resulting image is IB.

The last stage computes the Watershed transform. This block needs the inputs IF, IB and Iadj. The gradient magnitude image is adjusted so that its regional minima occur at foreground and back- ground marker pixels. Then the Watershed transform is computed for this modiﬁed gradient. The output of this ﬁrst step is a seg-

mented image with cells identiﬁed in the background (see Fig. 4). The resulting image is a label matrix Ilabel. However, many cells are not separated and the level of noise is high. Therefore, the second processing with SM-Watershed is necessary.

  - SM-Watershed

The second stage is based on the morphologic characteristics of the cell, in order to achieve the separation of the merged ele- ments. This process is performed once since only one application is necessary to achieve a suitable separation. Additional iterations showed no improvement in the results. A ﬂowchart of this process is shown in Fig. 3. The input Iseg is the image resulting from the MC-Watershed step. This stage has two core processes: Split and Merge.

Step 1: Split. The split process identiﬁes unseparated cells using information about the area and convexity.

The solidity value of each closed region is deﬁned as:

=

Solidity	Area	(1)

ConvexArea

where Area means the area of the closed region and ConvexArea is the smallest convex polygon that contains the closed region. A new binary image (Is1) is produced that is composed only of elements with an area and solidity bigger than those for typical cells (the threshold for Area, Area T1, and solidity S1 are ﬁtted from average values for each dataset). A hole-ﬁlling operation is implemented to enhance the image since some kinds of cells have little nucleolus, which could cause over-segmentation or misidentiﬁcation. Next, the Watershed transform is applied to obtain the image Iw. The city

Fig. 3. Flowchart of the SM-Watershed algorithm.

Fig. 4. MC-Watershed process. a) Input image Iinput. b) Adjusted image Iadj. c) Results of the opening and closing by reconstruction, Io. d) Regional maxima superimposed on the adjusted image, IF. e) Thinned background IB. f) Output image Ilabel with boundaries on the original image.

block distance transform was selected for this stage. This distance between two points (m1,n1) and (m2,n2) is obtained as follow:

dcityblock ([m1, n1] , [m2, n2]) = |m1 − m2| + |n1 − n2|	(2)

Alternatives to  the  city  block  distance  were  less  suited  to our needs. The Euclidean distance has a high possibility of over- segmentation. The reason is that Euclidean distance propagates to the neighboring pixels in a shape close to a circle, and it forms a

Fig. 5. SM-Watershed process. a) Unseparated cells Is1 from Ilabel. b) Watershed transform. Zoom to Iw. c) over-segmented regions. d) Output image Ioutput.

small island made of a few pixels [37]. The chessboard propaga- tion has similar behavior, and in the cell segmentation case, it too generates over-segmentation. Thus, the city block distance was the most appropriate for the split stage. Even so, in some cases the split process generates small parts due to the over-segmentation caused by Watershed; it is necessary to remove them to avoid misidenti- ﬁcation. The resulting image (Is) is then used as the input to the second step, the Merge process.

Step 2: Merge. The objective of this step is to identify the over- segmented regions, using information about area and eccentricity, and to eliminate these divisions with morphological closing.

Eccentricity is the eccentricity of the ellipse that has the same second-moments as the closed region. The eccentricity of the ellipse is the ratio of the distance between the foci of the ellipse and its major axis length and has a value between 0 and 1.

The over-segmented regions are smaller and more eccentric than the typical elements (we ﬁtted the threshold for Area, Area T1, and eccentricity (Ecc) from average values for each dataset). The ﬁnal output of the SM-Watershed step is image Ioutput (See Fig. 5).

ﬁcity, precision, negative predictive value (NPV), F-Index and accuracy.

Recall speciﬁes the portion of foreground pixels or cell pixels in the ground truth that matches with cells identiﬁed by the seg- mentation method. Similarly, speciﬁcity measures the percentage of negative pixels, or background in the ground truth, which are also identiﬁed by the segmentation method. However, these two indicators are sensitive to segment size, and they penalize more mistakes in small objects than in large ones [15].

Other measures obtained from the confusion matrix are the pre- cision and NPV, which give an idea about the correct value, positive or negative, as a proportion. However, they are not commonly used in the validation of medical images [15]. However, precision and recall are meaningful when considered jointly. In general, under- segmentation generates high values of precision and low recall, while over-segmentation generates the opposite [10]. An appro- priate balance between precision and recall is revealed in higher F-index values. Two other metrics used to assess segmentation are the Dice coefﬁcient and Jaccard Index, deﬁned as:

=	=

2 .Sg ∩ St.

2TP

  - Evaluation

DICE	(3)

.S . + .S .	2TP + FP + FN

The Hit Rate and the Confusion Matrix are commonly used met-

g

=

=

JAC

.Sg

(4)

∪ St .	TP + FP + FN

.Sg ∩ St.

t

TP

rics for assessing the quality of segmentation methods. In the case of image segmentation, several metrics are used to obtain perfor-

mance indicators [15]. Some measures are based on the number of

corrected segmented pixels compared with an image reference or

ground truth. These metrics are based on the spatial overlap and result from the four basic cardinalities of the confusion matrix: true positives (TP), false positives (FP), true negatives (TN), and false negatives (FN). We obtained these cardinalities following the

Where Sg is the ground truth segmentation, and St is the segmen-

tation being evaluated.

−

Other authors prefer to use metrics based on the volume of con- tours [18]. The Volumetric Similarity (VS) is 1 VD where VD is the volumetric distance. That is:

deﬁnition in reference [15].

..St . − .Sg ..

g

t

.FN − FP.

the following performance indicators: sensitivity or recall, speci-

Based on the cardinalities of the confusion matrix, we obtained

VS = 1 −

1	(5)

=   −

.S . + .S .	2TP + FP + FN

In the PVD metric, the absolute volume of the segmented region is compared with the corresponding volume in the ground truth. Thus, the overlap between the segments is not considered. The vol- umetric similarity has its maximum value even when the overlap is zero [15].

Although these indicators have been widely used, these met- rics do not offer a measure of the correct separation of clustered cells. As they are based on comparisons with the ground truth, they only give an indication of the separation between background and foreground.

Therefore we used a qualitative visual assessment using the deﬁnition of visual accuracy (VAC) [20]:

Nsegment

3.1.  MC-Watershed results

An example of the results of each operation in the MC- Watershed process, using a sample of the U20S dataset, is presented in Fig. 4. Fig. 4b shows the adjusted image after conversion to grayscale: the elements touching borders were cleaned (see top- right and left borders) and the conversion to grayscale image increased the contrast in the image Iadj. The image Io (Fig. 4c) is the result of morphological operations and reconstruction. The pix- els obtained from regional maxima IF were superimposed on the adjusted image Iadj  (see Fig. 4d). Only the pixels with high inten- sity surrounded by pixels with low intensity were extracted with regional maxima. Fig. 4e shows division lines obtained from the

VAC = Nsegment

+ Nsplit

+ Nmerge

+ Nadd

+ Nmissing

(6)

application of Watershed to the binary background. Fig. 4f shows the output image Ilabel; cells that have not been separated are high-

where Nsplit represents the number of single cells that are divided into several cells by mistake, Nmerge the number of overlapping cells assigned to a single cell by mistake, Nadd the number of cells added by mistake from the background, Nmissing the number of cells assigned to the background by mistake, and Nsegment the number of cells correctly segmented.

2.7. Parameters set-up

In this paper, we present the results for our algorithm using parameters selected by a heuristic methodology. This selection was based on the inherent characteristics of the cells as average area and convexity, and knowledge derived from previous related works.

For the parameters set-up, we selected randomly one image from each dataset. Since images have been acquired with the same magniﬁcation, the variations of size and convexity are minimal between images. Therefore, the thresholds for area, solidity, and eccentricity (parameters used in SM-Watershed) are estimated by calculating the average values of all the  foreground elements  in the image. This is an advantage versus other methods since the parameters can be ﬁxed only once for each dataset acquired with the same magniﬁcation. The robustness of our parameter selection was veriﬁed by preliminary experiments, where other samples of each dataset were used to obtain average values. We found a non- signiﬁcant difference in the estimated parameters between each image (variations less than 2%)

Additionally, in a preliminary study [38], the crucial parameters

of the MC-Watershed and SM-Watershed algorithms have been tuned by a GA (genetic algorithm) with the aim to optimize its performance. The F-index was the output of the ﬁtness function (the value to optimize by the GA) and the input vector contained the options to be ﬁtted. The test was done with the SNP HEp-2 cell dataset. The entire process of optimization is described in detail in [38]. The results regarding F-index showed that the auto-tuning algorithm reached similar performance to the values generated with the input parameters selected by the human expert: F-index with the heuristic method was 0.85863 and F-index with GA auto- tuning was 0.86309. Taking into account this minimal difference regarding the parameter selection, we can state that the results in this paper are suitable for comparison with related works in the literature.

# Results and discussion

§

In this section, experimental results are presented using cell images from the two datasets described in subsection 2.1.Dataset. This section is divided to show the results for the MC-Watershed and SM-Watershed blocks and the indicators obtained. These results are compared with the standard software for cell processing (CellProﬁler) and with other methods from the literature.

lighted by red ellipses.

  - SM-Watershed results

In Fig. 5, the results of each operation in the SM-Watershed pro- cess are presented. The input to this process is the image obtained after the MC-Watershed step (Ilabel). Fig. 5a is the binary image, containing only the clustered elements. They were detected using information about Area and Solidity. After applying the Watershed transform to these elements, division lines were drawn as shown in Fig. 5b. Over-segmentation caused by Watershed is evident. Each of these regions was identiﬁed (Fig. 5c) using information about Area and Eccentricity. Then division lines of over-segmented areas were eliminated.

In Fig. 5d, two samples of correctly separated cells are high- lighted. Although the most signiﬁcant elements were separated, the division line between regions 1 and 2 in Fig. 5c was incorrectly drawn: this division was eliminated, and ﬁnally, these two cells were not separated.

  - Performance indicators

This section is separated into two parts to present the indica- tors for the two databases. The SNPHep-2 database has been used for classiﬁcation purposes in the literature, and also to validate the results in the segmentation process. The performance of our proposal was compared with CellProﬁler and MC-Watershed. The U2OS dataset was used to compare our new approach with other methods [20,39–40,41,42]. For the qualitative visual assessment, each output image was reviewed and classiﬁed manually by PhD- level expert biologists. Classiﬁcations were made using the labels from Eq. (6): Nsegment, Nsplit, Nmerge, Nadd, Nmissing. An inter-rater reliability analysis using the Kappa statistic [43] was performed to determine the level of agreement between observers.

The primary goal of our new method is to achieve a balance

between over-segmentation and under-segmentation rates and between misidentiﬁed and unidentiﬁed cells, with an acceptable accuracy preserving the original shape of the cell. The shapes identi- ﬁed corresponded to the visible part of the cluster since the method did not include any geometrical recuperation. This was adequate for the type of data used, with cells of irregular shape and low overlap.

    - SNPHEp-2 indicators

§

For this dataset the ground truth was available. Hence, some commonly used metrics presented in section 2.5. Evaluation were ﬁrst evaluated. Additionally, a qualitative visual assessment was performed. In Fig. 6, two examples of a processed image are pre- sented. The cells indicated with the continuous red circle are examples of the comparison with the ground truth, where  the three results gave the same indicators about identiﬁcation,  but cells were not correctly separated. The accurate segmentation of

Fig. 6. Example of segmentation for the SNPHep-2 dataset. First column: ground truth, second column: CellProﬁler, third column: MC-Watershed and fourth column: SM-Watershed.

Table 1

Performance indicators for SNPHEp-2 dataset.

Table 2

Qualitative Visual Assessment for SNPHEp-2 dataset.

| Indicator | CellProﬁler | MC-Watershed | SM-Watershed |  | Indicator | CellProﬁler | MC-Watershed | SM-Watershed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Recall | 0.96648 | 0.83771 | 0.74063 |  | VAC% | 83.77% | 73.78% | 88.97% |
| Speciﬁcity | 0.89695 | 0.98078 | 0.99158 |  | Nsegment | 92.40% | 77.64% | 92.19% |
| Precision | 0.65309 | 0.89756 | 0.94574 |  | Nsplit | 2.23% | 0.06% | 3.28% |
| NPV | 0.99354 | 0.96672 | 0.94945 |  | Nmerge | 2.60% | 19.56% | 1.67% |
| F-Index | 0.77158 | 0.86303 | 0.82732 |  | Nadd | 10.30% | 5.23% | 3.61% |
| Accuracy | 0.90849 | 0.95594 | 0.94907 |  | Nmissing | 2.76% | 2.74% | 2.86% |
| DICE | 0.78124 | 0.86542 | 0.83104 |  |  |  |  |  |
| Jaccard | 0.64102 | 0.76276 | 0.71093 |  |  |  |  |  |

VS	0.77857	0.86197	0.82701

the SM-watershed can only be evaluated with a qualitative visual assessment. Dashed circles show examples of over-segmentation or under-segmentation. Continuous arrows show cells that have been mistakenly added and dashed arrows show cells that were not identiﬁed.

      - Quantitative assessment for SNPHep-2. In Table 1, several performance indicators that compare the new SM-Watershed method with CellProﬁler and MC-Watershed are shown. These indicators do not provide a useful metric for segmentation per- formance. For example, a method that labels all the pixels as cells and none of the background has a recall of 100% [10]. CellProﬁler obtained the highest recall, but in the cells marked with the dashed red circle in Fig. 6, second column, some background pixels were marked as foreground pixels. The F-Index, accuracy, Jaccard, and VS indicators were very similar for MC-Watershed and SM-Watershed. Both of these methods had good performance when compared with the ground truth and they preserved the original shape of the cell. Nevertheless, these indicators do not provide an evaluation of the correct separation of cells.

      - Qualitative assessment for SNPHep-2. In Table 2, we present the results of the qualitative visual assessment. The values pre- sented in Table 2 were obtained from a visual inspection of the output images of each method by PhD-level expert biologists. The new SM-watershed method outperforms the other two methods with regard to percentage accuracy (VAC%); the number of over- lapping cells (Nmerge) and the noise (or cells obtained from the background) (Nadd) were the lowest of the three methods. The SM-watershed method only takes clumped objects, selected by an

Table 3

| ANOVA Test. |  |  |
| --- | --- | --- |
| Indicator | F | p-value |
| VAC | 36.857 | 0.001 |
| Nsplit | 34.667 | 0.001 |
| Nmerge | 152.764 | 0.001 |
| Nadd | 19.230 | 0.001 |
| Nmissing | 0.185 | 0.831 |

area or solidity out of average range. Nevertheless, this stage could cause over-segmentation in some well-segmented cells obtained in the MC-watershed stage. Because of this, the indicator for over- segmentation (Nsplit) was not the lowest of the three methods, but it still had a low overall value. The number of cells not identiﬁed (Nmissing ) was similar for all three methods.

An ANOVA test was  completed  to  compare  the  performance of the three methods in the qualitative visual  assessment  [44]. The Analysis of Variance (ANOVA) gives a statistically signiﬁcant result indicating that one method differs from the other two [45]. In Table 3, F is the F-statistic, while the p-value, or signiﬁcance, is the probability of obtaining the F values, or higher, under the null hypothesis of the equality of means. If the p-value associated with the statistical F is less than 0.05, we reject the null hypothesis, and the alternative is accepted, which means that the average values of the three methods are different. Only the indicator Nmissing had p > 0.05, so for this indicator, the three methods gave similar results. To analyze the pattern of differences between the means of the methods, it was necessary to execute  tests  of  speciﬁc  hypothe- ses comparing pairs of means (pairwise comparisons or post hoc test). The Games-Howell post hoc test is a nonparametric method to compare combinations of groups. The Games-Howell test does not presume equal variances and sample sizes. Therefore it is

Fig. 7. Images show segmentation for the U2OS dataset. These cells are irregular and a geometric ﬁt was not a suitable option.

Table 4

GAmes-Howell Test.

95% conﬁdence interval

Table 5

Performance indicators for U2OS dataset.

Indicator     DeepCell     U-net	Graphcut     MC-Watershed     SM-Watershed

SM

Indicator	Method(i)	Method(j)	p	Lower bound	Upper bound VAC		MC	0.001	0.107		0.197

CP	0.001	0.020	0.091

Recall	0.78641	0.87405     0.80778	0.80567	0.79208

Precision     0.94870	0.92455     0.97646	0.90576	0.93094

F-Index	0.85996	0.89859     0.88415	0.84554	0.85427

Jaccard	0.75433	0.81586     0.79235	0.73866	0.74714

MC	CP	0.001	−0.143	−0.048

Nsplit	SM	MC	0.001	0.025	0.042

CP	0.027	0.001	0.025

MC	CP	0.001	−0.029	−0.012

Table 6

Quality Visual Assesment U2OS dataset.

Nmerge	SM	MC	0.001	−0.214	−0.147

| Reference | VAC% | Nsegment | Nsplit | Nmerge | Nadd | Nmissing |
| --- | --- | --- | --- | --- | --- | --- |
| Liao et. al [20] | 90.22% | 1310 | 1.37% | 6.18% | 2.06% | 1.22% |
| Huang et. al [39] | 82.93% | 1258 | 0.00% | 10.65% | 0.00% | 9.94% |
| Lim et. al [40] | 82.61% | 1406 | 6.33% | 11.74% | 2.77% | 0.21% |
| Farhan et. al [41] | 81.70% | 1308 | 15.60% | 3.44% | 2.29% | 1.07% |
| Wang et. al [42] | 82.65% | 1305 | 14.56% | 2.15% | 2.76% | 1.53% |
| Graphcut [48] | 82.01% | 930 | 0.00% | 11.83% | 8.71% | 1.40% |
| U-net [14] | 91.52% | 5185 | 0.35% | 0.87% | 2.47% | 2.43% |
| DeepCell [14] | 88.02% | 4829 | 0.18% | 1.40% | 1.52% | 4.20% |
| This study | 90.29% | 930 | 2.15% | 3.55% | 2.8% | 2.26% |

CP	0.061	−0.020	0.000

MC	CP	0.001	0.137	0.204

Nadd	SM	MC	0.182	−0.042	0.006

CP	0.001	−0.107	−0.043

MC	CP	0.001	−0.091	−0.023

Nmissing	SM	MC	0.975	−0.011	0.013

CP	0.920	−0.015	0.010

MC	CP	0.826	−0.016	0.009

often recommended over other approaches [46]. The results of the Games-Howell test are shown in Table 4.

If the conﬁdence interval of the difference in means is deter-

mined, it is possible to verify if the null hypothesis is rejected, as the conﬁdence interval does not include the value of zero for the difference of means. The null hypothesis states that the difference between the means is zero, therefore if zero is in the range, this hypothesis cannot be rejected. For the indicator Nmerge, there was no difference between the results for our SM-Watershed method and CellProﬁler. The same behavior was found for Nadd if the SM- Watershed method was compared with MC-Watershed. However, it can be seen in Table 2 that SM-Watershed had the lowest val- ues for these two indicators. Although the SM-Watershed method had the same performance as CellProﬁler with regards to the Nmerge indicator, CellProﬁler had a higher indicator of noise (Nadd). So, the SM-Watershed method had the best balance between real separa- tion, identiﬁcation, and noise in the cell segmentation process.

    - U2OS indicators

This dataset contains manually segmented images, with a red boundary for cell separation. From these images, we created a binary ground truth, with the background in black and foreground in white. Next, some commonly used metrics presented in section

§

2.5. Evaluation were evaluated. Additionally, a qualitative visual assessment was performed.

In Fig. 7, examples of processed images with SM-Watershed are presented. These images indicate that an elliptical or geometric approximation is not suitable since it does not ﬁt the morphology of the cell. Furthermore, it has been demonstrated that the root mean square error of an ellipse ﬁtting increases with the eccentricity value of the point set, which can lead to having wrong information for the size and shape of some cells [47].

      - Quantitative assessment for U2OS. Table 5 shows a quan- titative analysis with several performance indicators comparing the new SM-Watershed method with two classical algorithms (the

automatic graphcut segmentation with h adaptive [48] and MC- Watershed) and two state-of-the-art methodologies (deep learning architectures: U-net and DeepCell [14]). The results of the graph- cut method were taken from Oyebode et.al [48], the results of the deep learning conﬁgurations were taken from the reported data in [14] and the results of MC-Watershed and SM-Watershed were obtained by running the algorithms in Matlab® 2014-B. This quan-

titative analysis for the U2OS cell line was performed only with these ﬁve methods since the other proposal shown in Table 6 do not have quantitative metrics reported.

In this quantitative analysis, the two deep learning based tech- niques outperformed our SM-watershed method in terms of F-index and Jaccard indicators. F-index detects performance differences better than the Jaccard index [14]. Higher F-index values reveal an appropriate balance between precision and recall. The quantitative results for the classical methods are very similar to SM-watershed. We can conﬁrm that deep learning architectures had good per- formance compared with the ground truth and it preserved the original shapes of the cells. Although the deep learning based solutions obtain better performance, our proposed method has additional advantages that make it competitive with such tech- niques. Namely, it does not require labeled data, it can be applied to datasets for which only a handful of images are available, it does not need training process, and it can be interpreted by domain experts.

The latter makes our method a relevant and useful state of the art

methodology for cell segmentation in realistic environments.

      - Qualitative assessment for U2OS. According to authors in [14], from a cell biology imaging perspective, pixel-wise overlap alone is not appropriate to diagnose the errors in the segmenta- tion process, such as over-segmented and merged objects. Thus, we additionally used metrics that explicitly count correctly segmented objects.

Consequently, a qualitative visual assessment was performed as it is proposed in [20] and explained in (6) and the results are shown in Table 6. Nsplit, Nmerge, Nadd,  and  Nmissing  were  used  to obtain the percentage of the number of cells correctly segmented (Nsegment) with the objective of comparing the ﬁndings of this study with alternative methods reported in the literature. The values pre- sented in Table 6 were taken directly from each referenced paper, and the results from our study and the graphcut approach were obtained from a visual inspection of the output images by PhD- level expert biologists. The inter-rater reliability was calculated using the kappa coefﬁcient with the aim of validating the indicators obtained from the visual inspection. As suggested [49], we obtained the kappa coefﬁcient for all coder pairs, then we used the arith- metic mean to provide an overall index of reliability [50]. There was a substantial agreement between the observers’ judgments, with kappa = 0.783 (p < 0.001), 95% CI (0.757, 0.809).

The method of Liao et al. [20] separated the overlapping cells

by implementing bottleneck detection with ellipse ﬁtting. This method had a similar VAC to our SM-Watershed method, but the Nmerge value was higher than the SM-Watershed method. Addition- ally, the ellipse ﬁtting approach is not always suitable, for example in the cases shown in Fig. 7. In the method of Huang et al. [39], the operations erosion and reconstruction were used to separate cells but generated under-segmentation; this can be seen by the high values of Nmerge and Nmissing . The method of Lim et al. [40] used a watershed algorithm applied to the gradient, which can avoid over- segmentation, but the process fails when the cells are overlapped, and this method had a high Nmerge value.

The method of Farhan et al. [41] used concave point detection to separate the overlapping cells. However, this was limited to objects of particular sizes and shapes and it was sensitive to noise. This method had a low Nmerge value but a high Nsplit value, indicating problems with over-segmentation. The method of Wang et al. [42] used a shape classiﬁer to decide whether a connected component should be split. Due to the irregular shapes of the ﬂuorescent cells, this method separated one cell into several elements by mistake, which lead to a higher Nsplit value.

The graphcut approach used neighbor information to segment foreground and background, allowing identiﬁcation of all cells and, consequently giving a very low Nmissing indicator and 0% over- segmentation. However, the process failed when the cells were overlapped and it added objects to the background, which was reﬂected in high Nmerge and Nadd values.

We ﬁnd that deep learning architectures exhibit higher per- formance than classical segmentation algorithms in terms of the number of correctly identiﬁed objects. The two conﬁgurations of deep learning, U-net and DeepCell, had better indicators of Nmerge, Nsplit and Nadd than our method and U-net had the highest VAC value of all. Both deep learning methods identify boundaries to sep- arate touching cells, but small cells are not easy to segment using the border detection process because most of the pixels are in the boundary, and few pixels are in the interior [14]. This explains the high values for Nmissing in the deep learning conﬁgurations: small nuclei were not detected. These results were expected since deep learning implementation has demonstrated high performance in several image detection tasks. Although deep learning models are slightly superior to our SM-watershed method regarding VAC indi- cator, they generally run at higher computational cost, and more importantly require of large amounts of training data, which is dif- ﬁcult and costly to obtain, and they must be trained, usually with special hardware.

Analyzing both quantitative and qualitative approaches, we can

state that in the conﬁguration of parameters in classical algorithms, they have to accept more splits in order to ﬁx mergers or vice- versa. On the contrary, our method tries to compensate these two behaviors in a balanced way.

These results demonstrated that, compared with other classic methods, SM-Watershed had the best balance between separation, identiﬁcation, and noise in the cell segmentation process, with an acceptable accuracy preserving the original shape of the cell. Also, unlike deep learning architecture, this method does not require training data and the parameters are ﬁtted with the dataset to process.

# Conclusions

A novel SM-Watershed method for cell segmentation in ﬂuores- cence microscopy images was developed. Satisfactory results were generated with this approach. This method is suitable for cell sep- aration, which allows an appropriate cell-by-cell characterization for complex studies, such as virus infection analysis. First, a Marker- Controlled Watershed algorithm was used to extract the cells from the background. This initial segmented image was the input for the two-stage algorithm of the SM-Watershed method. It applies the Split and Merge processes based on the Watershed transform to separate the cells correctly. The split process identiﬁes the clus- tered cells using ﬁtted features of the cells like area and solidity, and then the distance transform is calculated to apply Watershed. The merge process uses the area and eccentricity to identify the over-segmented regions and employs morphological operations to eliminate the divisions.

The  SM-Watershed   method   was   tested   on   two   different

databases of ﬂuorescence cell images, which was a good indicator of the reproducibility  and  quality  of  the  method.  A  quantita- tive and qualitative visual assessment was performed to provide appropriate validation of the SM-Watershed method. The results obtained from the indicators showed that this method had high accuracy and a good balance between over-segmentation and under-segmentation. Furthermore, this method follows the irreg- ular shape of the cells since it is not based on a geometric adjustment.  Compared  with  the  state-of-the-art  methodologies as deep learning architectures, they outperformed  our  method, but SM-Watershed does  not  require  a  training  process,  which is suitable for databases with reduced data. Even though the SM-Watershed cell segmentation method performed well in iden- tifying cells in a ﬂuorescence image, additional research is needed to improve the indicators for missing cells and the added noise.

# Declaration of interests

The authors declare that they have no known competing ﬁnan- cial interests or personal relationships that could have appeared to inﬂuence the work reported in this paper.

# Acknowledgments

The research reported in this publication  was  supported  by the National Institute of Allergy and Infectious Diseases of the National Institutes of Health under Award Number R01AI110385. The content is solely the responsibility of the authors and does not necessarily represent the ofﬁcial views of the National Institutes of Health.

Funding for doctoral studies has been given in part by Colciencias and Gobernación del Atlántico under call 673, “Formación de Capital Humano de Alto Nivel para el Departamento del Atlántico”.

# References

- B. Snijder, R. Sacher, P. Rämö, E.-M. Damm, P. Liberali, L. Pelkmans, Population context determines cell-to-cell variability in endocytosis and virus infection, Nature 461 (2009) 520–523, http://dx.doi.org/10.1038/nature08282.

- B. Knapp, I. Rebhan, A. Kumar, P. Matula, N.A. Kiani, M. Binder, et al., Normalizing for individual cell population context in the analysis of

high-content cellular screens, BMC Bioinformatics 12 (2011) 485, http://dx. doi.org/10.1186/1471-2105-12-485.

- K. Geiler-Samerotte, C. Bauer, S. Li, N. Ziv, D. Gresham, M. Siegal, The details in the distributions: why and how to study phenotypic variability, Curr. Opin. Biotechnol. 24 (2013) 752–759, http://dx.doi.org/10.1016/j.copbio.2013.03. 010.

- R.L. Johnston, L. Wockner, A.E. McCart Reed, A. Wiegmans, G.

Chenevix-Trench, K.K. Khanna, et al., High content screening application for cell-type speciﬁc behaviour in heterogeneous primary breast epithelial subpopulations, Breast Cancer Res. 18 (2016) 18, http://dx.doi.org/10.1186/ s13058-016-0681-9.

- S.A. Haney, High Content Screening: Science, Techniques and Applications, Wiley-Interscience, 2008.

- M. Song, E. Jeong, T.-K. Lee, Y. Tsoy, Y.-J. Kwon, S. Yoon, Analysis of

image-based phenotypic parameters for high throughput gene perturbation assays, Comput. Biol. Chem. 58 (2015) 192–198, http://dx.doi.org/10.1016/J. COMPBIOLCHEM.2015.07.005.

- K. Kayser, S. Borkenfeld, A. Djenouni, G. Kayser, Texture and object related image analysis in microscopic images, Diagn. Pathol. (2015), http://dx.doi.org/ 10.17629/www.diagnosticpathology.eu-2015-1:14.

- A.E. Carpenter, T.R. Jones, M.R. Lamprecht, C. Clarke, I.H. Kang, O. Friman,

et al., CellProﬁler: image analysis software for identifying and quantifying cell phenotypes, Genome Biol. 7 (2006) R100, http://dx.doi.org/10.1186/gb-2006- 7-10-r100.

- J. Zhang, Y. Wang, X. Shi, An improved graph cut segmentation method for cervical lymph nodes on sonograms and its relationship with node’s shape assessment, Comput. Med. Imaging Graph. 33 (2009) 602–607, http://dx.doi. org/10.1016/j.compmedimag.2009.06.002.

- S. Tonti, S. Di Cataldo, A. Bottino, E. Ficarra, An automated approach to the segmentation of HEp-2 cells for the indirect immunoﬂuorescence ANA test, Comput. Med. Imaging Graph. 40 (2015) 62–69, http://dx.doi.org/10.1016/j. compmedimag.2014.12.005.

- J.-P. Bergeest, K. Rohr, Efﬁcient globally optimal segmentation of cells in ﬂuorescence microscopy images using level sets and convex energy functionals, Med. Image Anal. 16 (2012) 1436–1444, http://dx.doi.org/10. 1016/j.media.2012.05.012.

- Y. Wang, Z. Zhang, H. Wang, S. Bi, Segmentation of the clustered cells with optimized boundary detection in negative phase contrast images, PLoS One 10 (2015) e0130178, http://dx.doi.org/10.1371/journal.pone.0130178.

- S. Abeysekera, M.P.-L. Ooi, Y.C. Kuang, C.P. Tan, S.S. Hassan, Detecting spongiosis in stained histopathological specimen using multispectral imaging and machine learning, 2014 IEEE Sensors Appl. Symp., IEEE (2014) 195–200, http://dx.doi.org/10.1109/SAS.2014.6798945.

- J.C. Caicedo, J. Roth, A. Goodman, T. Becker, K.W. Karhohs, C. McQuin, et al., Evaluation of deep learning strategies for nucleus segmentation in ﬂuorescence images, BioRxiv (2018) 335216, http://dx.doi.org/10.1101/ 335216.

- A.A. Taha, A. Hanbury, Metrics for  evaluating  3D  medical  image segmentation: analysis, selection, and tool, BMC Med. Imaging 15 (2015) 29, http://dx.doi.org/10.1186/s12880-015-0068-x.

- H. San Juan Vergara, Mechanism of Respiratory Syncytial Virus Entry in Normal Human Bronchial Epitheli (accessed July 13, 2018)((n.d.)) http:// grantome.com/grant/NIH/R01-AI110385-01.

- G. Percannella, P. Soda, M. Vento, A classiﬁcation-based approach to segment HEp-2 cells, Proc. - IEEE Symp. Comput. Med. Syst., IEEE (2012) 1–5, http://dx. doi.org/10.1109/CBMS.2012.6266311.

- C.-C. Cheng, T.-Y. Hsieh, J.-S. Taur, Y.-F. Chen, An automatic segmentation and classiﬁcation framework for anti-nuclear antibody images, Biomed. Eng. Online 12 (2013) S5, http://dx.doi.org/10.1186/1475-925X-12-S1-S5.

- Y.-K. Chan, D.-C. Huang, K.-C. Liu, R.-T. Chen, X. Jiang, An automatic indirect immunoﬂuorescence cell segmentation system, Math. Probl. Eng. 2014 (2014) 1–13, http://dx.doi.org/10.1155/2014/501206.

- M. Liao, Y. Zhao, X. Li, P. Dai, X. Xu, J. Zhang, et al., Automatic segmentation for cell images based on bottleneck detection and ellipse ﬁtting, Neurocomputing (2015), http://dx.doi.org/10.1016/j.neucom.2015.08.006.

- M. Merone, P. Soda, On using active contour to segment HEp-2 cells, 2016 IEEE 29th Int. Symp. Comput. Med. Syst., IEEE (2016) 118–123, http://dx.doi. org/10.1109/CBMS.2016.49.

- A. Gharipour, A.W.-C. Liew, Segmentation of cell nuclei in ﬂuorescence microscopy images: an integrated framework using level set segmentation and touching-cell splitting, Pattern Recognit. 58 (2016) 1–11, http://dx.doi. org/10.1016/J.PATCOG.2016.03.030.

- L. He, B. Heise, A. Kuijper, Y. Zhou, Cell Segmentation Using the Level Set Method (accessed October 2, 2018)(n.d.) www.oeaw.ac.atwww.ricam.oeaw.ac.at.

- O. Ronneberger, P. Fischer, T. Brox, U-Net: Convolutional Networks for Biomedical Image Segmentation, 2015 (Accessed February 1, 2019) http:// arxiv.org/abs/1505.04597.

- D.A. Van Valen, T. Kudo, K.M. Lane, D.N. Macklin, N.T. Quach, M.M. DeFelice, et al., Deep learning automates the quantitative analysis of individual cells in live-cell imaging experiments, PLoS Comput. Biol. 12 (2016) e1005177, http:// dx.doi.org/10.1371/journal.pcbi.1005177.

- S.K. Sadanandan, P. Ranefall, S. Le Guyader, C. Wählby, Automated training of deep convolutional neural networks for cell segmentation, Sci. Rep. 7 (2017) 7860, http://dx.doi.org/10.1038/s41598-017-07599-6.

- A. Wiliem, Y. Wong, C. Sanderson, P. Hobson, S. Chen, B.C. Lovell, Classiﬁcation of Human Epithelial Type 2 Cell Indirect Immunoﬂuoresence Images Via Codebook Based Descriptors (n.d.)., 2019, http://dx.doi.org/10.1109/WACV. 2013.6475005.

- L.P. Coelho, A. Shariff, R.F. Murphy, Nuclear segmentation in microscope cell images: a hand-segmented dataset and comparison of algorithms, Proceedings. IEEE Int. Symp. Biomed. Imaging 5193098 (2009) 518–521, http://dx.doi.org/10.1109/ISBI.2009.5193098.

- T. Peng, G.M.C. Bonamy, E. Glory-Afshar, D.R. Rines, S.K. Chanda, R.F. Murphy, Determining the distribution of  probes  between  different  subcellular locations through automated unmixing of subcellular patterns,  Proc.  Natl. Acad. Sci. U. S. A. 107 (2010) 2944–2949, http://dx.doi.org/10.1073/pnas. 0912090107.

- K.M. Niforou, A.K. Anagnostopoulos, K. Vougas, C. Kittas, V.G. Gorgoulis, G.T. Tsangaris, The Proteome Proﬁle of the Human Osteosarcoma U2OS Cell line., Cancer genomics Proteomics. 5, 2019, pp. 63–78 (accessed March 22, 2018)((n.d.)) http://www.ncbi.nlm.nih.gov/pubmed/18359981.

- S. Beucher, C. Lantuejoul, Use of watersheds in contour detection, Int. Work. Image Process. Real-Time Edge Motion Detect (1979).

- F. Xing, L. Yang, Robust Nucleus/Cell detection and segmentation in digital pathology and microscopy images: a comprehensive review, IEEE rev, Biomed. Eng. 9 (2016) 234–263, http://dx.doi.org/10.1109/RBME.2016.2515127.

- J.B.T.M. Roerdink, A. Meijster, The watershed transform: deﬁnitions, algorithms and parallelization strategies, Fundam. Informaticae. 41 (2000) 187–228, http://dx.doi.org/10.3233/FI-2000-411207.

- X. Han, Y. Fu, H. Zhang, A fast two-step marker-controlled watershed image segmentation method, 2012 IEEE Int. Conf. Mechatronics Autom., IEEE (2012) 1375–1380, http://dx.doi.org/10.1109/ICMA.2012.6284337.

- C.F. Koyuncu, S. Arslan, I. Durmaz, R. Cetin-Atalay, C. Gunduz-Demir, Smart markers for watershed-based cell segmentation, PLoS One 7 (2012), e48664, http://dx.doi.org/10.1371/journal.pone.0048664.

- R.C. Gonzalez, Digital Image Processing, Pearson Education, 2009 (accessed May 5, 2016) https://books.google.co.in/books/about/Digital Image Processing.html?id=a62xQ2r f8wC&pgis=1.

- Qing Chen, Xiaoli Yang, E.M. Petriu, Watershed  segmentation  for  binary images with different distance transforms, Proceedings. Second  Int.  Conf. Creat. Connect. Collab. Through Comput., IEEE (2019) 111–116, http://dx.doi. org/10.1109/HAVE.2004.1391891, n.d.

- M. Gamarra, A. Mitre-Ortiz, H. Escalante, Automatic cell image segmentation using genetic algorithms, Ing. y Desarro. 37 (2019).

- J. Huang, An improved algorithm of overlapping cell division, 2010 Int. Conf. Intell. Comput. Integr. Syst., IEEE (2010) 687–691, http://dx.doi.org/10.1109/ ICISS.2010.5655507.

- H.N. Lim, M.Y. Mashor, R. Hassan, White blood cell segmentation for acute leukemia bone marrow images, 2012 Int. Conf. Biomed. Eng., IEEE (2012) 357–361, http://dx.doi.org/10.1109/ICoBE.2012.6179038.

- M. Farhan, O. Yli-Harja, A. Niemistö, An improved clump splitting method for convex objects, in: Proc. Seventh Int. Work. Comput. Syst. Biol., 2010, pp. 35–38.

- H. Wang, H. Zhang, N. Ray, Clump splitting via bottleneck detection and shape classiﬁcation, Pattern Recognit. 45 (2012) 2780–2787, http://dx.doi.org/10. 1016/J.PATCOG.2011.12.020.

- J. Cohen, A coefﬁcient of agreement for nominal scales, Educ. Psychol. Meas. 20 (1960) 37–46, http://dx.doi.org/10.1177/001316446002000104.

- J. Demsˇar, Statistical comparisons of classiﬁers over multiple data sets, J. Mach. Learn. Res. 7 (2006) 1–30 (accessed April 18, 2018) http://citeseerx.ist. psu.edu/viewdoc/download?doi=10.1.1.141.3142&rep=rep1&type=pdf.

- W. Penny, R. Henson, Chapter 13: Analysis of Variance, 2006 (accessed April 18, 2018) http://www.ﬁl.ion.ucl.ac.uk/-wpenny/publications/spm-book/ anova.pdf.

- M.C. Shingala, A. Rajyaguru Professor, Comparison of post hoc tests for unequal variance, Int. J. New Technol. Sci. Eng. 2 (2015) 2349–2780 (Accessed April 24, 2018) www.ijntse.com.

- P. Kumar, E.R. Belchamber, S.J. Miklavcic, Pre-processing by data augmentation for improved ellipse ﬁtting, PLoS One 13 (2018), e0196902, http://dx.doi.org/10.1371/journal.pone.0196902.

- K.O. Oyebode, S. Du, B.J. van Wyk, K. Djouani, Investigating the relevance of graph cut parameter on interactive and automatic cell segmentation, Comput. Math. Methods Med. 2018 (2018) 1–10, http://dx.doi.org/10.1155/2018/ 7396910.

- R.J. Light, Measures of response agreement for qualitative data: some generalizations and alternatives, Psychol. Bull. 76 (1971) 365–377, http://dx. doi.org/10.1037/h0031643.

- K.A. Hallgren, Computing inter-rater reliability for observational data: an overview and tutorial, Tutor. Quant. Methods Psychol. 8 (2012) 23–34 (Accessed February 20, 2019) http://www.ncbi.nlm.nih.gov/pubmed/ 22833776.